## Front Page
Occupation | Building Issues | [5 empty] | Result
Colleague Count? | Numbers of Floors Above Ground? | Numbers of Floors Below Ground? | Additional Buildings? | Colleagues with PEEPS? | Risk Rating | Members of Public/ Visitors | Fire Marshalls & Wardens Required
1 to 20 | 1 | 0 | 0 | No | Medium | Yes | 3.99
Continuity Check
Fire Exits - Single | Fire Exits - Double | Entrance/Exits | Fire Marshalls & Wardens Required
1 | 1 | 1 | 5.32
Notes
1. Number required will be the greater of the 2 checks above
2. The result includes an allowance to cover holidays/ sickness etc
3. Risk Rating will always be Medium for Society sites
What is the difference? The Fire Marshal is appointed to identify fire hazards at their workplace. ... A Fire Warden's role is to make sure that the building is cleared and no one remains inside; this would be executed by carrying out a quick check and then a thorough role call at the fire assembly point.

## Calcs (hidden)
Metrics and Data
| Site Risk | Risk Calc | Numbers of Floors above GF | Number of floors below GF | Extra Buildings | PEEPS | PEEPS Factor | Customers | Customer Factor | Colleague Count | Colleaue Factor | Calculation | Assembly Points Single |  | Assembly Points Double
| High | 3 | 0 | 0 | 0 | Yes | 1 | Yes | 2 | 1 to 20 | 1 |  | 1 | 1 | 0 | 0
| Medium | 2 | 1 | 1 | 1 | No | 0 | No | 1 | 21-75 | 2 |  | 2 | 2 | 1 | 2
| Low | 1 | 2 | 2 | 2 |  |  |  |  | 76-150 | 3 |  | 3 | 3 | 2 | 4
|  |  | 3 |  | 3 |  |  |  |  | 151 - 225 | 4 |  | 4 | 4 | 3 | 6
[10 empty] | 226 -300 | 5 |  | 5 | 5 | 4 | 8
[10 empty] | 301-375 | 6 |  | 6 | 6 | 5 | 10
[10 empty] | 376-450 | 7 |  | 7 | 7 | 6 | 12
[13 empty] | 8 | 8 | 7 | 14
[13 empty] | 9 | 9 | 8 | 16
| Calculation | [11 empty] | 10 | 10 | 9 | 18
Factors | Colleagues | Numbers of Floors Above Ground | Numbers of Floors Below Ground | Additional Buildings | PEEPS | Risk Rating | Members of Public/ Visitors | Result | Result 2 - if less than 2 | Holiday cover x 1.33 |  |  |  |  | 10 | 20
| 1 | 1 | 0 | 0 | 0 | 1 | 1 | 3 | 0 | 3.99
Calc
| Fire Exits - Single | Fire Exits - Double | Entrance Door | Alarm Panel |  |  |  |  | Result | Holiday cover x 1.33
| 1 | 2 | 1 | 1 |  |  |  |  | 4 | 5.32